## Sheet1
San Diego Gas Electric Company - Fire Incident Data Collection Plan
Report Data Compiled from 2014-2019
| A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X
1 | A: Utility Name; C: Fire Start; F: Location Info; I: Fire Specifics; M: Utility Facility; Q: Outage Info; U: Field Observations
Voltage
| Utility Name | Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size | Suppressed by | Suppressing Agency | Facility Identification | Other Companies |  | Equipment Involved With Ignition | Type | Was There an Outage | Date2 | Time3 | Suspected Initiating Event | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor | Notes
2 | M: (Volts)
3 | SDG&E | 1/1/14 | 18:45 | 33.1179 | -117.078 | Vegetation | Urban | Less Than .25 Acres | Customer |  | P11112 |  | 12kV | Other | Overhead | Yes | 1/1/14 | 18:45 | Equipment/Facility Failure | Splice/Clamp/Connector | Vehicle | Pole | Other
4 | SDG&E | 3/5/14 | 9:49 | 33.2038 | -117.1142 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | P515262 |  | 12kV | Conductor | Overhead | Yes | 3/12/14 | 9:49 | Equipment/Facility Failure | Splice/Clamp/Connector | Other
5 | SDG&E | 4/15/14 | 6:20 | 32.6778 | -117.046 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | S.D.F.D. | Z180434 |  | 12kV | Conductor | Overhead | No |  |  | Equipment/Facility Failure | Guy/Span Wire | Other | Electric Facility | None
6 | SDG&E | 4/17/14 | 16:42 | 33.2203 | -117.338 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | OFD | TL23010 |  | 230kV | Conductor | Overhead | No |  |  | Contact From Object |  | Vehicle | Electric Facility | Human Error
7 | SDG&E | 4/27/14 | 12:00 | 32.2415 | -117.347 | Vegetation | Rural | Less Than .25 Acres | Utility |  | TL 6912, Z122445 | none | 69kV | Other | Overhead | No |  |  | Equipment/Facility Failure | Other | Vehicle | Pole | None
8 | SDG&E | 4/28/14 | 13:30 | 33.2926 | -116.948 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | Circuit 214, P215546 | none | 12kV | Conductor | Overhead | Yes | 4/28/2014 | 13:30 | Equipment/Facility Failure | Splice/Clamp/Connector | Other | Electric Facility | None
9 | SDG&E | 4/28/14 | 16:20 | 33.2887 | -116.956 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Cal Fire | P812595 |  | 12kV | Conductor | Overhead | Yes | 4/28/14 | 16:20 | Contact From Object |  | Vehicle | Pole | Human Error
10 | SDG&E | 4/29/14 | 10:05 | 33.3181 | -117.222 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | Circuit 233, P213051 | none | 12kV | Conductor | Overhead | Yes | 4/29/14 | 10:05 | Contact From Object | Conductor | Vehicle | Electric Facility | Outside Force
11 | SDG&E | 4/29/14 | 13:40 | 33.1264 | -117.016 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Escondido FD | Circuit 455, P316707 | none | 12kV | Conductor | Overhead | Yes | 4/29/14 | 13:40 | Contact From Object |  | Vehicle | Pole | Outside Force
12 | SDG&E | 4/29/14 | 16:49 | 32.7186 | -117.096 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SD Fire-Rescue | Circuit 323, P476600 | none | 12kV | Conductor | Overhead | Yes | 4/29/14 | 16:49 | Contact From Object |  | Vegetation | Electric Facility | Weather
13 | SDG&E | 5/1/14 | 6:48 | 32.864 | -116.899 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Lakeside FD | Circuit 242, P372465 | AT&T | 12kV | Conductor | Overhead | Yes | 5/1/14 | 6:48 | Contact Between Third Party Facility on Pole and Supply Lines |  | Other | Electric Facility | Weather
14 | SDG&E | 5/13/14 | 9:00 | 32.6405 | -116.772 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CAL FIRE | P177622 |  | 12kV | Conductor | Overhead | No |  |  | Wire-Wire Contact |  | Other | Electric Facility | Weather
15 | SDG&E | 5/13/14 | 8:35 | 32.7543 | -116.778 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P274777 |  | 240V | Conductor | Overhead | No |  |  | Contact From Object | Conductor | Vegetation | Electric Facility | Other
16 | SDG&E | 5/19/14 | 18:30 | 33.1073 | -117.164 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Cal Fire | P211709 | AT&T | 12kV | Conductor | Overhead | Yes | 5/19/14 | 18:30 | Contact From Object |  | Vehicle | Electric Facility | Human Error
17 | SDG&E | 5/28/14 | 15:50 | 32.9808 | -117.2462 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Cal Fire | P313226 |  | 12kV | Conductor | Overhead | No |  |  | Contact From Object | Other | Vehicle | Pole
18 | SDG&E | 5/31/14 | 11:30 | 33.3146 | -116.8661 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | P219919 |  | 12kV | Conductor | Overhead | Yes | 5/31/14 | 11:30 | Contact From Object | Crossarm | Other | Electric Facility | Human Error
19 | SDG&E | 6/4/14 | 9:30 | 33.0191 | -116.828 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | TL 637,Circuit 970, Z416592 | none | 69kV | Conductor | Overhead | Yes | 6/14/14 | 9:30 | Contact From Object |  | Other | Electric Facility | Human Error
20 | SDG&E | 6/17/14 | 15:30 | 32.564 | -117.032 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | SDFD | P192047 |  | 12kV | Switch | Overhead | Yes | 6/17/14 | 15:30 | Equipment/Facility Failure | Switch | Other | Electric Facility | None
21 | SDG&E | 7/4/14 | 12:00 | 32.7563 | -116.926 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | CALFIRE | Circuit 96, P471597 | none | 12kV | Conductor | Overhead | no |  |  | Contact From Object | Capacitor Bank | Vegetation | Electric Facility | None
22 | SDG&E | 7/6/14 | 11:14 | 33.0283 | -116.926 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | Circuit 972, P319081 | none | 12kV | Conductor | Overhead | Yes | 7/6/14 | 11:14 a.m. | Contact From Object | Conductor | Animal | Electric Facility | None
23 | SDG&E | 7/22/14 | 10:25 | 32.7899 | 116.8455 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Cal Fire | P276288 | AT&T | 12kV | Conductor | Overhead | No |  |  | Contact From Object | Recloser | Vehicle | Electric Facility | Outside Force
24 | SDG&E | 8/28/14 | 9:30 | 33.0191 | -116.8281 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | Z416585 |  | 12kV | Conductor | Overhead | No |  |  | Contact From Object |  | Other | Electric Facility | Human Error
25 | SDG&E | 9/2/14 | 11:15 | 33.1527 | -117.1608 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | San Marcos | P219744 | none | 12kV | Fuse | Overhead | Yes | 9/2/14 | 11:15 | Contact From Object | Transformer | Balloons | Pole | Outside Force
26 | SDG&E | 9/11/14 | 11:56 | 33.2769 | -117.1345 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P619040 | none | 12kV | Transformer | Overhead | yes | 9/11/14 | 11:56 | Equipment/Facility Failure | Transformer | Other |  | None
27 | SDG&E | 9/13/14 | 20:30 | 32.7211 | -116.7801 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | Cir 157, P106190 |  | 12kV | Conductor | Overhead | Yes | 9/13/14 | 20:00 | Unknown |  | Vegetation |  | Unknown
28 | SDG&E | 9/15/14 | 12:53 | 32.736 | -117.0137 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Miguel FD | Cir 162, P161277 |  | 240V | Conductor | Overhead | Yes | 9/15/14 | 12:53 | Contact From Object | Conductor | Vegetation | Electric Facility | Other
29 | SDG&E | 9/24/14 | 19:45 | 33.0513 | -116.8479 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | Cir. RA1 P169791 |  | 4kV | Conductor | Overhead | Yes | 9/24/12 | 19:45 | Contact From Object |  | Animal | Electric Facility | Outside Force
30 | SDG&E | 10/7/14 | 13:38 | 33.039 | -117.1705 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | Z519759 |  | 240kV | Conductor | Overhead | Yes | 10/7/2014 | 13:42 | Contact From Object |  | Other | Electric Facility | Outside Force
31 | SDG&E | 10/11/14 | 4:00 | 32.946 | -116.8466 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P972639 |  | 12kV | Conductor | Overhead | Yes | 10/11/14 | 4:00 | Contact From Object |  | Other | Electric Facility | Outside Force
32 | SDG&E | 11/19/14 | 9:30 | 32.8421 | -116.8805 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | Cir. 246 P272232 | none | 12kV | Conductor | Overhead | Yes | 11/19/14 | 18:00 | Contact From Object |  | Other | Pole | Outside Force
33 | SDG&E | 2/7/15 | 13:36 | 32.9021 | -117.0137 | Vegetation | Rural | Less Than .25 Acres | Utility |  | TL23041 | none | 230Kv | Conductor | Overhead | Yes | 2/7/15 | 13:36 | Contact From Object |  | Animal | Electric Facility | Unknown
34 | SDG&E | 6/9/15 | 5:50 | 32.9003 | -117.2309 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | S.D. City | Z63404 |  | 69kV | Conductor | Overhead | Yes | 6/9/15 | 5:45 | Contact From Object | Pole | Animal | Electric Facility | Outside Force
35 | SDG&E | 10/31/15 | 13:04:00 P 33.3391670 |  | -117.4947 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Pendleton | Z223694 |  | 230V | Conductor | Overhead | No | 10/31/15 | 12:23 | Contact From Object |  | Animal | Electric Facility | Outside Force
36 | SDG&E | 4/9/15 | 17:23 | 32.7233 | -116.8922 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CAL FIRE | P171928 |  | 12kV | Other | Overhead | No |  |  | Unknown |  | Other | Electric Facility
37 | SDG&E | 5/28/15 | 12:45 | 32.7265 | -116.9922 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | P196508 |  | 12kV | Conductor | Overhead | Yes | 5/28/15 | 12:45 | Contact From Object | Lightning Arrestor | Balloons | Electric Facility | None
38 | SDG&E | 4/12/15 | 14:30 | 32.7523 | -117.3257 | Vegetation | Rural | 100 - 299 Acres | Fire Agency | Pendleton | P164638 |  | 12kV | Lightning Arrestor | Overhead | No |  |  | Equipment/Facility Failure | Lightning Arrestor | Vehicle | Pole
39 | SDG&E | 7/13/15 | 23:45 | 32.763 | -116.8995 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | Z971870 Cir 23041 |  | 230kV | Conductor | Overhead | No |  |  | Contact From Object | Other | Balloons | Electric Facility | Outside Force
40 | SDG&E | 8/8/15 | 10:00 | 33.1973 | -117.2308 | Vegetation | Urban | Less Than .25 Acres | Customer |  | P17530J |  | 4kV | Conductor | Overhead | Yes | 8/8/15 | 10:00 | Contact From Object |  | Balloons | Electric Facility | None
41 | SDG&E | 4/12/15 | 12:31 | 33.0117 | -116.866 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CAL FIRE | P214319 |  | 12kV | Conductor | Overhead | Yes | 4/12/15 | 12:30 | Contact From Object |  | Other | Electric Facility
42 | SDG&E | 4/29/15 | 12:00 | 32.6061 | -116.696 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P175961 | none | 12kV | Conductor | Overhead | Yes | 4/29/15 | 12:00 | Equipment/Facility Failure | Splice/Clamp/Connector | Vegetation |  | Unknown
43 | SDG&E | 5/17/15 | 6:55 | 33.1808 | -117.2064 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | P15839 |  | 12kV | Conductor | Overhead | Yes | 5/17/15 | 7:06 | Contact From Object | Insulator | Other | Electric Facility
44 | SDG&E | 7/7/15 | 15:00 | 32.7443 | -117.0498 | Vegetation | Urban | Less Than .25 Acres | Utility |  | Z371043 Cir. 160 |  | 12kV | Conductor | Overhead | Yes | 7/7/15 | 13:00 | Contact From Object | Guy/Span Wire | Other | Electric Facility | Human Error
45 | SDG&E | 2/11/15 | 15:30 | 32.8941 | -116.9393 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Lakeside Fire | Service span off 237657 |  | 12kV | Conductor | Overhead |  |  |  | Contact From Object |  | Vegetation | Electric Facility | Weather
46 | SDG&E | 4/18/15 | 12:00 | 32.7764 | -116.9309 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P677849 |  | 220v | Conductor | Overhead | No |  |  | Contact From Object | Capacitor Bank | Vegetation | Electric Facility | None
47 | SDG&E | 7/17/15 | 9:48 | 33.175 | -117.0125 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P213348 |  | 12kV | Conductor | Overhead | No |  |  | Contact From Object | Protective Relay | Vegetation | Communication Facility | Human Error
48 | SDG&E | 7/27/15 | 14:30 | 33.0665 | -116.579 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P212006 |  | 12kV | Conductor | Overhead | Yes | 7/27/15 | 14:30 | Contact From Object | Crossarm | Vegetation | Electric Facility | None
49 | SDG&E | 8/23/15 | 15:00 | 32.2729 | -117.1521 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CAL FIRE | P415300 |  | 12kV | Conductor | Overhead | Yes | 8/23/15 | 15:00 | Contact From Object |  | Vegetation | Electric Facility | Weather
50 | SDG&E | 12/26/15 | 3:04 | 33.1323 | -117.0695 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Escondido | P218563 |  | 12kV | Conductor | Overhead | Yes | 12/26/15 | 3:04 | Contact From Object |  | Vegetation | Electric Facility | Weather
51 | SDG&E | 8/13/15 | 20:33 | 33.2457 | -116.6769 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P19586 |  | 12Kv | Conductor | Overhead | Yes | 8/13/15 | 20:33 | Unknown | Conductor |  |  | Unknown
52 | SDG&E | 8/15/15 | 17:30 | 32.7417 | -116.9685 | Other | Urban | Less Than .25 Acres | Customer |  | P273868 |  | 4Kv | Other | Overhead | No |  |  | Equipment/Facility Failure | Splice/Clamp/Connector | Other |  | None
53 | SDG&E | 3/19/15 | 23:50 | 33.0324 | -117.0159 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | S.D. City | P719156 |  | 12kV | Conductor | Overhead | Yes | 3/19/15 | 23:50 | Contact From Object |  | Vehicle | Pole | Human Error
54 | SDG&E | 9/1/15 | 8:50 | 32.669 | -116.286 | Vegetation | Rural | Less Than .25 Acres | Utility |  | P41145 cir. 445 |  | 12kV | Conductor | Overhead | Yes | 9/1/15 | 8:50 | Equipment/Facility Failure | Conductor |  |  | None
55 | SDG&E | 4/13/15 | 10:50 | 32.5859 | -117.0017 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Chula Vista | P81123 |  | 12kV | Conductor | Overhead | Yes | 4/13/15 | 10:50 | Contact From Object |  | Vehicle | Electric Facility | Human Error
56 | SDG&E | 4/28/15 | 13:30 | 32.8917 | -116.8419 | Vegetation | Rural | Less Than .25 Acres | Customer |  | P176657 | none | 12kV | Conductor | Overhead | Yes | 4/28/15 | 13:30 | Contact From Object | Conductor | Vehicle | Electric Facility | Human Error
57 | SDG&E | 9/8/15 | 11:45 | 33.0726 | -116.7435 | Vegetation | Rural | Less Than .25 Acres | Utility | CAL FIRE | P416995 cir 222 | none | 12Kv | Switch | Overhead | Yes | 9/8/15 | 11:45 | Equipment/Facility Failure | Switch |  |  | None
58 | SDG&E | 9/9/15 | 20:40 | 32.644 | -117.072 | Vegetation | Urban | Less Than .25 Acres | Utility | Chula Vista | P89691 - cir 255 | none | 12Kv | Conductor | Overhead | Yes | 9/9/15 | 20:40 | Equipment/Facility Failure | Conductor | Other |  | Unknown
59 | SDG&E | 9/17/15 | 8:09 | 32.6791 | -117.1044 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | National City | P835456 | none | 12kV | Conductor | Overhead | Yes | 9/17/15 | 19:55 | Equipment/Facility Failure | Transformer |  |  | None
60 | SDG&E | 10/2/15 | 14:30 | 33.1354 | -117.0588 | Vegetation | Urban | Less Than .25 Acres | Customer |  | P510149 |  | 12kV | Conductor | Overhead | Yes | 10/2/15 | 14:30 | Equipment/Facility Failure | Splice/Clamp/Connector | Other |  | Unknown
61 | SDG&E | 10/8/15 | 13:47 | 32.5818 | -116.9449 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | Z31746 |  | 69kV | Conductor | Overhead | No |  |  | Equipment/Facility Failure | Splice/Clamp/Connector | Other |  | unknown
62 | SDG&E | 10/9/15 | 16:00 | 32.7705 | -117.1095 | Other | Urban | Less Than .25 Acres | Fire Agency | SDFD | P931883 | telco | 4kV | Conductor | Overhead | Yes | 10/9/15 | 16:26 | Equipment/Facility Failure | Conductor |  |  | Unknown
63 | SDG&E | 9/1/15 | 18:01 | 32.7595 | -117.0671 | Vegetation | Urban | Less Than .25 Acres | Self Extinguished |  | P270259 cir. RD4 |  | 4kV | Conductor | Overhead | No |  |  | Contact From Object |  | Vehicle | Electric Facility | Human Error
64 | SDG&E | 9/2/15 | 18:18 | 33.1867 | -117.202 | Vegetation | Urban | Less Than .25 Acres | Self Extinguished |  | P111781 cir. 859 |  | 12kV | Conductor | Overhead | Yes | 9/1/15 | 18:11 | Contact From Object |  | Vehicle | Electric Facility | Human Error
65 | SDG&E | 6/23/16 | 15:00 | 32.8058 | -116.961 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | El Cajon FD | P166454 |  | 12kV | Conductor | Overhead | Yes | 6/23/16 | 15:00 | Contact From Object | Lightning Arrestor | Animal | Electric Facility | Outside Force
66 | SDG&E | 6/12/16 | Unknown | 33.094 | -117.043 | Vegetation | Urban | Less Than .25 Acres | Utility | Utility | P712531 |  | 12kV | Conductor | Overhead |  |  |  | Contact from Object |  | Balloons | Electric Facility | None
67 | SDG&E | 1/16/16 | 14:42 | 32.7188 | -116.9745 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SMG/CALFIRE | P270861 |  | 12kV | Conductor | Overhead | Yes | 1/16/16 | 14:42 | Equipment/Facility Failure | Conductor | Balloons | Electric Facility | None
68 | SDG&E | 1/31/16 | 15:00 | 33.3217 | -117.156 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | CALFIRE | P714625 |  | 12kV | Conductor | Overhead | Yes | 1/31/16 | 15:00 | Equipment/Facility Failure | Conductor | Other | Pole | Weather
69 | SDG&E | 2/5/16 | 9:47 | 33.0739 | -117.0862 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Escondido FD | P418131 |  | 12kV | Other | Overhead | Yes | 2/5/16 | 9:47 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
70 | SDG&E | 2/12/16 | 19:30 | 33.2427 | -116.9664 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P414015 |  | 12kV | Conductor | Overhead | Yes | 2/12/16 | 19:30 | Vandalism/Theft |  |  |  | Outside Force
71 | SDG&E | 2/18/16 | 0:00 | 32.7063 | -116.397 | Vegetation | Rural | Less Than .25 Acres | Utility |  | P40825 |  | 12kV | Conductor | Overhead | Yes | 2/18/16 | 6:00 | Equipment/Facility Failure | Conductor | Vehicle | Pole | None
72 | SDG&E | 8/27/16 | 12:43 | 33.1371 | -117.0761 | Vegetation | Rural | Less Than .25 Acres | Customer |  | P315560 |  | 12kV | Conductor | Overhead | Yes | 8/27/16 | 12:43 | Contact From Object | Fuse | Balloons | Electric Facility | Unknown
73 | SDG&E | 3/11/16 | 11:40 | 33.1563 | -117.2152 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Vista FD | P615947 |  | 12kV | Conductor | Overhead | Yes | 3/11/16 | 11:40 | Equipment/Facility Failure | Conductor |  |  | Unknown
74 | SDG&E | 42562 | 0.43542 | 33.2719 | -117.1826 | Vegetation | Urban | Less Than .25 Acres | Customer | CALFIRE | P228931 C 520 |  | 12kv | Conductor | Overhead | Yes | 42562 | 0.43542 | Contact From Object | Other | Other | Electric Facility
75 | SDG&E | 42476 | Unknown | 33.2243 | -117.3683 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Unknown | Z29145 (TL 690, C198) |  | 12kV | Conductor | Overhead | Yes | 42476 |  | Wind/Equipment/Facility Failure | Conductor | Vegetation |  | Weather
76 | SDG&E | 42651 | 0.45347 | 33.3019 | -117.0974 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Valley Center | Z811329 |  | 230kv | Conductor | Overhead | No |  |  | Contact From Object | Switch | Other | Electric Facility | Other
77 | SDG&E | 1/9/16 | 4:30 | 33.082 | -117.091 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Escondido FD | P319659 |  | 12kV | Conductor | Overhead | Yes | 1/9/16 | 4:30 | Contact From Object |  | Vegetation | Electric Facility | Weather
78 | SDG&E | 4/6/16 | 10:38 | 33.1865 | -117.1967 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Vista FD | P113372 |  | 12kV | Conductor | Overhead | Yes | 4/6/16 | 10:38 | Contact From Object | Conductor | Vegetation | Electric Facility | Human Error
79 | SDG&E | 6/27/16 | 15:30 | 33.2837 | -116.6174 | Vegetation | Rural | Less Than .25 Acres | Customer |  | P112086 |  | 12kV | Other | Overhead | No |  |  | Equipment/Facility Failure | Splice/Clamp/Connector | Other |  | Human Error
80 | SDG&E | 7/2/16 | 7:51 | 32.81 | -116.878 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P775960 |  | 12kV | Capacitor Bank | Overhead | Yes | 7/2/16 | 7:51 | Equipment/Facility Failure | Capacitor Bank | Other |  | None
81 | SDG&E | 7/31/16 | 13:43 | 33.3663 | -117.2033 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Fallbrook Fire | P115869 |  | 12kV | Conductor | Overhead | Yes | 7/31/16 | 13:43 | Contact From Object | Recloser | Vegetation | Electric Facility | Unknown
82 | SDG&E | 7/11/16 | 13:19 | 33.1146 | -116.5843 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | P412648 C221 | None | 12kV | Lightning Arrestor | Overhead | Yes | 7/11/16 | 13:19 | Equipment/Facility Failure | Lightning Arrestor | Other
83 | SDG&E | 7/22/16 | Unknown | 33.2015 | -116.9352 | Vegetation | Rural | Less Than .25 Acres | Utility |  | P212466 |  | 25kV | Transformer | Overhead | No |  |  | Equipment/Facility Failure | Other |  |  | Unknown
84 | SDG&E | 7/29/16 | 10:57 | 33.071 | -116.7424 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P416995 |  | 12kv | Conductor | Overhead | Yes | 7/29/16 |  | Equipment/Facility Failure | Conductor | Other
85 | SDG&E | 1/3/16 | 4:30 | 33.1915 | -117.3655 | Other | Urban | Less Than .25 Acres | Fire Agency | O'Side FD | Sta. 580-564 |  | 12kV | Transformer | PadmounteYes |  | 1/3/16 | 4:30 | Contact From Object |  | Vehicle | Electric Facility | Other
86 | SDG&E | 3/3/16 | 6:00 | 32.8472 | -116.942 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Lakeside F.D | P874898 | AT&T and Cox | 12kV | Conductor | Overhead | Yes | 3/3/16 | 6:30 | Contact From Object |  | Vehicle | Pole | Human Error
87 | SDG&E | 9/23/16 | 11:25 | 32.738 | -116.7333 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P101347 |  | 12kV | Transformer | Overhead | Yes | 9/23/16 | 11:25 | Equipment/Facility Failure | Transformer | Other |  | None
88 | SDG&E | 42535 | 0.25347 | 32.8801 | -116.9051 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P370041 | AT&T | 12kV | Conductor | Overhead | Yes | 42535 | 0.25347 | Contact From Object |  | Vehicle | Pole | Outside Force
89 | SDG&E | 9/29/16 |  | 32.7418 | -116.9653 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SMG/CALFIRE | P26106 |  | 12kV | Conductor | Overhead | No |  |  | Contact Between Third Party Facility on Pole and Supply Lines |  |  |  | Outside Force
90 | SDG&E | 9/29/16 | 8:14 | 33.1714 | -117.3158 | Vegetation | Urban | Less Than .25 Acres | Utility |  | Z524971 | none | 230kV | Conductor | Overhead | No |  |  | Unknown |  |  |  | Unknown
91 | SDG&E | 42640 | unknown | 33.2967 | -117.2079 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE |  |  | 12kV | Fuse | Overhead | No |  |  | Contact From Object |  |  |  | Unknown
92 | SDG&E | 10/21/16 | 11:20 | 33.0485 | -116.8615 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P114079 |  | 12kV | Conductor | Overhead | No |  |  | Unknown | Transformer | Other
93 | SDG&E | 11/2/16 | 10:30 | 32.8373 | -116.7022 | Vegetation | Rural | Less Than .25 Acres | Utility |  | P175475 |  | 12kV | Conductor | Overhead | Yes | 11/2/16 | 10:30 | Equipment/Facility Failure | Splice/Clamp/Connector | Other |  | None
94 | SDG&E | 11/12/16 | 20:30 | 32.6258 | -116.9375 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Chula Vista Fire | P85952 |  | 12kV | Lightning Arrestor | Overhead | Yes | 11/12/16 | 18:34 | Equipment/Facility Failure | Lightning Arrestor | Other
95 | SDG&E | 1/20/17 | 14:00 | 32.6274 | -117.0767 | Building | Urban | Less Than .25 Acres | Fire Agency | Chula Vista | Circuit 256 - Pole 250440 |  | 12kV | Conductor | Overhead | Yes | 1/20/17 | 0:00 | Contact From Object | Conductor | Vegetation | Pole | Weather
96 | SDG&E | 6/8/17 | 4:12 | 33.0356 | -117.1839 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Rnch Snta Fe | Circuit 307 |  | 12kV | Transformer | PadmounteYes |  | 6/8/17 | 4:12 | Contact From Object | Transformer | Vehicle | Electric Facility | Human Error
97 | SDG&E | 6/12/17 | 11:20 | 32.843 | -116.7111 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Viejas Fire Dept | Circuit 1458 |  | 12kV | Conductor | Overhead | No |  |  | Contact From Object |  | Other | Electric Facility | Weather
98 | SDG&E | 6/19/17 | 9:52 | 32.7829 | -117.0488 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SDFD | Ciruit 85 |  | 12kv | Conductor | Overhead | Yes | 6/19/17 | 9:50 | Contact From Object |  | Other | Electric Facility
99 | SDG&E | 6/26/17 | 14:30 | 32.7842 | -117.1391 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SDFD | Circuit 700 |  | 12kV | Switch | Overhead | No |  |  | Contact From Object |  | Balloons | Electric Facility | Other
100 | SDG&E | 6/29/17 | 13:07 | 33.1355 | -117.098 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | ESCONDIDO | Circuit 186 |  | 12kV | Lightning Arrestor | Overhead | Yes | 6/29/17 | 13:07 | Contact From Object |  | Animal | Electric Facility
101 | SDG&E | 6/29/17 | 14:58 | 32.6934 | -116.8552 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | Circuit 75 | Communication | 12kv | Conductor | Overhead | Yes | 6/29/17 | 14:58 | Contact From Object |  | Vehicle | Electric Facility | None
102 | SDG&E | 7/16/17 | 11:53 | 32.829 | -117.136 | Vegetation | Urban | Less Than .25 Acres | Self Extinguished |  | Cir 777 - Pole Z92709 | Communication | 12kV | Conductor | Overhead | No |  |  | Contact From Object |  | Balloons | Electric Facility | Other
103 | SDG&E | 7/25/17 | 15:18 | 33.1343 | -117.1666 | Vegetation | Rural | Less Than .25 Acres | Utility | SDGE | P213441/ C596 |  | 12kV | Conductor | Overhead | No |  |  | Vandalism/Theft |  |  |  | Other
104 | SDG&E | 7/28/17 | 16:31 | 32.7802 | -116.8722 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Heartland | P78591/ C228 |  | 12kv | Conductor | Overhead | Yes |  | 16:31 | Contact From Object | Pole /Conductor | Vehicle | Electric Facility | Outside Force
105 | SDG&E | 8/20/17 | 22:15 | 32.7522 | -117.1184 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SDFD | P733937 |  | 4kV | Fuse | Overhead | Yes | 8/20/17 | 0:00 | Equipment/Facility Failure | Fuse |  |  | None
106 | SDG&E | 8/30/17 | 14:12 | 33.3875 | -117.2459 | Vegetation | Urban | Less Than .25 Acres | Fire Agency |  | P214608 |  | 12kV | Conductor | Overhead | Yes | 8/30/217 | 14:11 | Contact From Object |  | Balloons | Electric Facility | Other
107 | SDG&E | 9/5/17 | 14:49 | 32.6191 | -116.6949 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P175945 |  | 12kV | Conductor | Overhead | Yes | 9/5/17 | 14:49 | Contact From Object |  | Vegetation | Electric Facility | Unknown
108 | SDG&E | 9/26/17 | 6:37 | 33.2984 | -117.4192 | vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CMP FD | Z223667 - TL23010 |  | 230kV | Conductor | Overhead | Yes | 9/26/17 | 6:37 | Contact From Object |  | Balloons | Electric Facility | Other
109 | SDG&E | 9/27/17 | 14:28 | 33.2327 | -116.9748 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | Circuit 909 -Z12816 |  | 12kV | Conductor | Overhead | Yes | 9/27/17 | 12:43 | Unknown |  |  |  | Unknown
110 | SDG&E | 9/27/17 | 16:10 | 32.7272 | -116.7788 | Vegetation | Rural | Less Than .25 Acres | Customer |  | P877437 |  | 12kV | Lightning Arrestor | Overhead | Yes | 9/27/17 | 15:59 | Equipment/Facility Failure | Lightning Arrestor |  |  | None
111 | SDG&E | 10/7/17 | 17:40 | 32.5914 | -116.6216 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | P471952 | Communication | 12kV | Conductor | Overhead | No |  |  | Equipment/Facility Failure | Conductor |  |  | Other
112 | SDG&E | 10/16/17 | 10:20 | 33.0697 | -116.8813 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | P112774 / c236 |  | 12kV | Conductor | Overhead | No |  |  | Contact From Object |  |  | Electric Facility | Other
113 | SDG&E | 10/18/17 | 7:20 | 33.9932 | -117.1232 | Vegetation | Urban | Less Than .25 Acres | Unknown |  | P10506 Cir 859 |  | 12kV | Conductor | Overhead | No |  |  | Contact From Object |  | Vehicle | Pole | Human Error
114 | SDG&E | 10/22/17 | 10:22 | 33.099 | -117.135 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Rnch Snta Fe | P250055 Circuit 182 |  | 12kV | Conductor | Overhead | Yes | 10/22/17 | 10:22 | Contact From Object |  | Other | Electric Facility | Human Error
Page 1 of 2
San Diego Gas Electric Company - Fire Incident Data Collection Plan
Report Data Compiled from 2014-2019
| A | B | C | D | E | F | G | H | I | J | K | L | M | N |  | O | P | Q | R | S | T | U | V | W | X
1 | A: Utility Name; C: Fire Start; F: Location Info; I: Fire Specifics; M: Utility Facility |  |  |  | Outage Info |  |  |  | Field Observations
Voltage
| Utility Name | Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size | Suppressed by | Suppressing Agency | Facility Identification | Other Companies |  | Equipment Involved With Ignition |  | Type | Was There an Outage | Date2 | Time3 | Suspected Initiating Event | Equipment /Facility Failure | Contact From Object | Facility Contacted | Contributing Factor | Notes
2 | M: (Volts)
115 | SDG&E | 10/25/17 | 13:02 | 33.2857 | -117.0275 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P416197, Circuit 908 |  | 12kV | Other | Overhead | No |  |  |  | Equipment/Facility Failure | Other |  |  | Weather
116 | SDG&E | 12/10/17 | 2:58 | 33.2739 | -116.9537 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | P813516 |  | 12kV | Transformer | Overhead | No |  |  |  | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | None
117 | SDG&E | 12/10/17 | 5:26 | 33.28 | -116.955 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | P32240 |  | 12kV | Conductor | Overhead | Yes |  | 12/10/17 | 5:26 | Contact From Object |  | Vegetation | Electric Facility | Weather
118 | SDG&E | 2/8/18 | 10:07 | 33.2071 | -117.2072 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | North County Fire | P213833 |  | 12kV | Conductor | Overhead | Yes |  | 2/8/18 | 10:07 | Contact From Object |  | Vegetation | Electric Facility | Human Error
119 | SDG&E | 2/16/18 | 16:50 | 32.6276 | -116.9409 | Vegetation | Urban | Less Than .25 Acres | Utility |  | C-594 |  | 12kV | Conductor | Overhead | Yes |  | 2/16/18 | 14:02 | Contact From Object |  | Balloons | Electric Facility | Outside Force
120 | SDG&E | 4/12/18 | 19:33 | 32.6965 | -117.0493 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SDFD | Z89883 |  | 12kV | Conductor | Overhead | No |  |  |  | Contact From Object |  | Balloons | Electric Facility | Other
121 | SDG&E | 4/16/18 | 14:24 | 33.4176 | -117.6058 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | OCFA | P121389 |  | 12kV | Conductor | Overhead | No |  |  |  | Contact From Object |  | Vegetation | Electric Facility | Weather
122 | SDG&E | 4/18/18 | 15:25 | 33.241 | -117.347 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CPFD | Z223638 |  | 230kV | Conductor | Overhead | No |  |  |  | Contact From Object |  | Animal | Electric Facility | Other
123 | SDG&E | 4/22/18 | 14:00 | 32.837 | -117.184 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SDFD | P729991 Cir. 275 |  | 12kV | Conductor | Overhead | Yes |  | 4/22/18 | 14:00 | Contact From Object |  | Balloons | Electric Facility | None
124 | SDG&E | 5/1/18 | 21:29 | 32.6848 | -117.1012 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | National City | Z730733 |  | 69kV | Conductor | Overhead | No |  |  |  | Contact From Object |  | Vehicle | Electric Facility | Outside Force
125 | SDG&E | 5/22/18 | 14:23 | 33.362 | -117.032 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | CALFIRE | P214790 Cir.217 |  | 12kV | Conductor | Overhead | Yes |  | 5/22/18 | 14:02 | Contact From Object |  | Balloons | Electric Facility | Other
126 | SDG&E | 6/1/18 | 14:00 | 33.099 | -117.044 | Vegetation | Rural | Less Than .25 Acres | Utility |  | P618454 |  | 12kV | Conductor | Overhead | No |  |  |  | Wire-Wire Contact |  |  |  | Other
127 | SDG&E | 6/12/18 | 9:00 | 32.706 | -116.396 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P44708 Cir. 458 |  | 12kV | Conductor | Overhead | Yes |  | 6/12/18 | 9:00 | Contact From Object |  | Animal | Electric Facility | None
128 | SDG&E | 6/12/18 | 15:14 | 32.864 | -116.747 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Fire Agency | P871937 Cir. 357 |  | 12kV | Conductor | Overhead | Yes |  | 6/12/18 | 14:38 | Contact from Object |  | Balloons | Electric Facility | None
129 | SDG&E | 6/22/18 | 9:46 | 32.567 | -116.941 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | SDFD | Z100698 Cir. 535 |  | 12kV | Switch | Overhead | Yes |  | 6/22/18 | 9:42 | Switch |  |  |  | Unknown
130 | SDG&E | 6/29/18 | 13:06 | 32.645 | -117.056 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Chula Vista | Z182447 Cir. 341 |  | 12kV | Other | Overhead | Yes |  | 6/29/18 | 13:06 | Equipment/Facility Failure | Guy/Span Wire |  |  | Unknown
131 | SDG&E | 7/6/18 | 10:26 | 32.6203 | -116.7649 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | CalFire | P177572, Station 157-825, C157 |  | 12kV | Transformer | Overhead | No |  |  |  | Equipment/Facility Failure | Transformer
132 | SDG&E | 7/8/18 | 16:16 | 32.6349 | -117.103 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Chula Vista | P100601, C255 |  | 12kV | Switch | Overhead | Yes |  | 7/8/18 | 16:16 | Other |  | Other | Electric Facility | Other
133 | SDG&E | 7/22/18 | 23:19 | 33.301 | -116.351 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Borrego Springs FD | 374759 Cir 170 |  | 12kV | Conductor | Overhead | Yes |  | 7/22/18 | 23:19 | Contact From Object |  | Vegetation | Electric Facility | None
134 | SDG&E | 7/30/18 | 12:11 | 32.8681 | -117.1902 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | SDFD&MCMIR | Z90115 Cir 968 |  | 12kV | Conductor | Overhead | No |  |  |  | Contact From Object |  | Balloons | Electric Facility | Other
135 | SDG&E | 8/9/18 | 12:00 | 33.213 | -117.335 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Oceanside FD | P226873 Cir 194 |  | 12kV | Conductor | Overhead | No |  |  |  | Equipment/Facility Failure | Other |  |  | Other
136 | SDG&E | 8/19/18 | 18:35 | 32.7002 | -116.8639 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE | P254640 Cir 75 |  | 12kV | Conductor | Overhead | Yes |  | 7/19/18 | 18:35 | Contact From Object |  | Balloons | Electric Facility | Other
137 | SDG&E | 9/14/18 | 10:00 | 33.3177 | -117.2228 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | MVU & NCFPD | P213051 Cir 233 | Telecom/cable | 12kV | Conductor | Overhead | No |  |  |  | Contact Between Third Party Facility on Pole and Supply Lines | Other | Vehicle | Communication Facility | Human Error
138 | SDG&E | 9/14/18 | 15:02 | 32.7897 | -117.0809 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | SDFD | P279980J Cir 702 |  | 12kV | Other | Overhead | Yes |  | 9/14/18 | 15:48 | Equipment/Facility Failure |  |  |  | None
139 | SDG&E | 10/12/18 | 12:30 | 32.8019 | -117.1494 | Vegetation | Urban | Less Than .25 Acres | Utility |  | Z96245 |  | 69kV | Other | Overhead | No |  |  |  | Contact From Object |  | Vehicle |  | Human Error
140 | SDG&E | 10/12/18 | 10:00 | 33.3013 | -116.9129 | Vegetation | Rural | Less Than .25 Acres | Utility |  | Z118027 |  | 69kV | Conductor | Overhead | No |  |  |  | Contact from Object |  | Vehicle |  | Human Error
141 | SDG&E | 10/15/18 | 10:21 | 33.3191 | -117.2597 | Vegetation | Rural | Less Than .25 Acres | Customer |  | P112366 |  | 12kV | Conductor | Overhead | Yes |  | 10/15/18 | 12:02 | Equipment/Facility Failure |  |  |  | None
142 | SDG&E | 11/26/18 | 1:51 | 33.4314 | -117.5952 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | OCFA | P25325 |  | 12kV | Conductor | Overhead | Yes |  | 11/26/18 | 1:45 | Contact From Object |  | Balloons | Electric Facility
143 | SDG&E | 12/2/18 | 11:25 | 33.28 | -117.404 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | Z223659 |  | 230kV | Conductor | Overhead | Yes |  | 12/2/18 | 11:25 | Contact From Object |  | Other | Electric Facility | None
144 | SDG&E | 1/16/19 | 16:55 | 33.421 | -117.61 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | OCFA | P29955 |  | 12 kV | Other | Overhead | No |  |  |  | Equipment/Facility Failure | Crossarm |  |  | Weather
145 | SDG&E | 4/15/19 | 14:05 | 32.7883 | -116.8896 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CalFire | P74970 and P74971 | Telco | 12 kV | Conductor | Overhead | Yes |  | 4/15/19 | 12:51 | Wire-Wire Contact |  |  |  | Outside Force
146 | SDG&E | 6/12/19 | 22:05 | 33.0484 | -116.8578 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CalFire | W100304 |  | 12 kV | Switch |  | PadmounteYes |  | 6/12/19 | 22:17 | Contact From Object |  | Vehicle | Electric Facility | None
147 | SDG&E | 7/3/19 | 15:15 | 33.0113 | -116.8492 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Ramona | P815903 | Telco | 120/208 | Conductor | Overhead | No |  |  |  | Equipment/Facility Failure | Conductor |  |  | Unknown
148 | SDG&E | 7/5/19 | 12:32 | 33.1584 | -117.222 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | San Marcos | P415472 |  | 12kV | Conductor | Overhead | Yes |  | 7/5/19 | 12:19 | Contact From Object |  | Vehicle | Pole | Human Error
149 | SDG&E | 7/12/19 | 13:52 | 33.1268 | -117.3035 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Carlsbad | Z710094 |  | 230 kV | Conductor | Overhead | Yes |  | 7/12/19 | 13:51 | Contact From Object |  | Balloons | Electric Facility | None
150 | SDG&E | 7/16/19 | 7:36 | 33.1697 | -117.1461 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | San Marcos | P114649 |  | 12kV | Conductor | Overhead | Yes |  | 7/16/19 | 7:53 | Wire-Wire Contact |  |  |  | Other
151 | SDG&E | 7/16/19 | 19:08 | 33.1904 | -117.1212 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Deer Springs | P610712 | Telco | 12kV | Conductor | Overhead | Yes |  | 7/16/19 | 19:08 | Contact Between Third Party Facility on Pole and Supply Lines |  | Vegetation | Electric Facility | Other
152 | SDG&E | 8/5/19 | 14:14 | 32.7886 | -117.1233 | Vegetation | Urban | Less Than .25 Acres | Utility |  | Z479779 |  | 12 kV | Switch | Overhead | No |  |  |  | Equipment/Facility Failure | Other |  |  | None
153 | SDG&E | 8/30/19 | 17:50 | 33.2452 | -117.3729 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Camp Pendleton | Z223445 |  | 230kV | Other | Overhead | Yes |  | 8/30/19 | 17:50 | Unknown |  |  |  | Unknown
154 | SDG&E | 9/10/19 | 12:59 | 32.564 | -117.033 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | San Diego | P194970 |  | 12kV | Switch | Overhead | Yes |  | 9/10/19 | 12:55 | Equipment/Facility Failure | Switch |  |  | None
155 | SDG&E | 9/11/19 | 14:17 | 33.226 | -117.085 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CalFire | P228412 |  | 12kV | Lightning Arrestor | Overhead | Yes |  | 9/11/19 | 14:17 | Contact From Object |  | Animal | Electric Facility | None
156 | SDG&E | 9/13/19 | 11:27 | 32.787 | -117.007 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Heartland | P378838 |  | 12kV | Other | Overhead | Yes |  | 9/13/19 | 11:27 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Unknown
157 | SDG&E | 9/30/19 | 2:59 | 33.2618 | -116.3705 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ramona | P277947 |  | 12kV | Other | Overhead | Yes |  | 9/30/19 | 2:59 | Equipment/Facility Failure | Guy/Span Wire |  |  | Other
158 | SDG&E | 10/17/19 | 12:15 | 33.2736 | -116.3931 | Vegetation | Urban | Less Than .25 Acres | Utility |  | P236651J |  | 120/240 | Conductor | Overhead | No |  |  |  | Other |  |  |  | Human Error
159 | SDG&E | 10/19/19 | 13:10 | 33.2317 | -117.2593 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Oceanside | meter pole Station 901-1460 |  | 240V | Conductor | Overhead | Yes |  | 10/19/19 | 13:10 | Other |  | Other |  | Human Error
160 | SDG&E | 10/24/19 | 10:13 | 32.8357 | -116.7252 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Alpine FD | P377113 | Telco | 12kV | Fuse | Overhead | Yes |  | 10/24/19 | 10:13 | Equipment/Facility Failure | Fuse |  |  | None
161 | SDG&E | 10/25/19 | 3:26 | 33.121 | -117.1586 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | CalFire | P211697 | Telco | 12kV | Other | Overhead | Yes |  | 10/25/19 | 3:26 | Equipment/Facility Failure | Other |  |  | Other
162 | SDG&E | 11/1/19 | 5:49 | 33.0924 | -117.0206 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Escondido FD | P15147 | Telco | 12kv | Conductor | Overhead | Yes |  | 11/1/19 | 5:48 | Contact From Object |  | Vehicle | Pole | None
163 | SDG&E | 11/4/19 | 15:30 | 33.2285 | -116.7575 | Vegetation | Rural | Less Than .25 Acres | Utility | CalFire | P19533 |  | 12kV | Conductor | Overhead | Yes |  | 11/4/19 | 15:30 | Equipment/Facility Failure | Other |  |  | None
164 | SDG&E | 11/12/19 | 7:51 | 33.1903 | -117.3698 | Other | Urban | Less Than .25 Acres | Fire Agency | Oceanside FD | P22213 | Tele&Cbl | 120/240 | Conductor | Overhead | Yes |  | 11/12/19 | 7:51 | Equipment/Facility Failure | Conductor |  |  | Unknown
Page 2 of 2